General Risk Assessment form Laboratories

Project Title

Person responsible for the work (Principal Investigator)

Position of the responsible person

Risk Assessment Number

Risk Assessment Version (reviews must be numbered sequentially)

Number of individuals the risk assessment will cover

Person responsible for completing the risk assessment

Person responsible for communicating the risk assessment

Number and location of the room or rooms and the Research Centre / Institute where the work will be carried out

Date risk assessment completed

Date the risk assessment is next due to be reviewed

Part 1 Describe the task (For work involving chemicals or biological agents the COSHH Risk Assessment form should be used. For work involving radiological agents the Radiation Risk Assessment form should be used. For work involving Manual Handling the Manual Handling Risk Assessment form should be used.)

Part 2 Determine the hazards and the risks that the task poses

Equipment Hazard Information Does the procedure involve use of any of the following equipment? Autoclaves Centrifugation High - Speed 15 – 50,000 Ultra – high centrifugation ≥ 50,000 Electrophoresis Iso-electric Focusing 2-Dimensional Electrophoresis Sonication Lasers Class 3 or 4 Lasers Open Source lasers Magnetic Fields Please indicate the field strength < 0.1 Tesla - - 0.5 Tesla > 0.5 Tesla > 1.0 Tesla > 2.0 Tesla Magnetic Resonance Imaging Human Animal Storage Facilities -40 Freezers - 80 Freezers Cryostores Dewars Do the freezers or cyrostores contain Microbes Plant Animal Human Samples If the freezers or cryostores contain human samples you should refer to the Human Tissue Act pages. Operator Training Has the operator been trained in the use of the equipment? Yes No Date of Training Name of person / organisation who provided the training Is there other equipment involved that has not been listed above? Yes No Please list the equipment

Physical Hazard Information Will individuals (workers or those nearby) be exposed to the following hazards while the work is taking place Heat Noise Poor Lighting Heavy items Unpressurised Dewars Pressurised Dewars Cold Frost-bite Asphyxiation Slippery Floors

Other Potential Hazards – Physical or Environmental Is there are a potential for the work to cause a fire due to the use of open flames or hot equipment. Yes No Is there a potential for floods to occur due to water being used in experiments overnight? Yes No

Other Potential Hazards – Patients Does the work involve patients Yes No Will the work involve taking blood, saliva, cells or bodily fluids or tissues from the patient Yes No If samples from patients are used please complete a COSHH assessment.

State the Risks to Health from Identified Hazards

Indicate those who could be affected by the work / task (Consider those nearby as well as those undertaking the work.)

Worker information 1 Is the worker pregnant Yes No Not Applicable Does the worker suffer from asthma, rhinitis, or allergies Yes No Not Applicable Does the worker have a pre-existing condition that could make them more vulnerable than usual to the work Yes No Not Applicable Has the worker been vaccinated Yes No Not Applicable Will Health Surveillance be required Yes No Not Applicable Worker information 2 Is the worker pregnant Yes No Not Applicable Does the worker suffer from asthma, rhinitis, or allergies Yes No Not Applicable Does the worker have a pre-existing condition that could make them more vulnerable than usual to the work Yes No Not Applicable Has the worker been vaccinated Yes No Not Applicable Will Health Surveillance be required Yes No Not Applicable Worker information 3 Is the worker pregnant Yes No Not Applicable Does the worker suffer from asthma, rhinitis, or allergies Yes No Not Applicable Does the worker have a pre-existing condition that could make them more vulnerable than usual to the work Yes No Not Applicable Has the worker been vaccinated Yes No Not Applicable Will Health Surveillance be required Yes No Not Applicable

Safety measures currently in place Control Measures: (for example extraction, ventilation, training, supervision). Include special measures for vulnerable groups, such as disabled people and pregnant workers. Take account of those substances that are produced from activities undertaken by other’s nearby.

Part 3 Indicate the level of the risk the task poses using current safety Measures Explain the reason for your decision (Risk could be Low / Medium / High)

Low Risk using current safety measures / precautions

Medium Risk using current safety measures / precautions Where work presents a medium risk of harm occuring additional safety measures should be put in place to lower the risk and part 4 of the form must be completed.

High Risk using current safety measures / precautions Where work presents a high risk of harm occuring additional safety measures must be put in place with aim of reducing the level of risk to at least medium and if possible low. Part 4 of the form must be completed.

Part 4 Determine ways to further control the risks

Personal Protective Equipment Respiratory Protection Yes No Not Applicable Gloves Yes No Not Applicable Eye Protection Yes No Not Applicable Other (please define)

Waste Disposal Procedures Autoclave Sharps Bin Cytotoxic Bin Pharmacy Yellow Bag Other (Please detail)

Spill / Emergency Procedures

First Aid Procedures

Risk Control Are the risks associated with the project adequately controlled Yes No Please state you reason

Part 5 Implementation and Communication of the Risk Assessment Date of completion of Assessment Name of Assessor Who is responsible for communicatuing this assessment to other staff Names and Signatures of those covered by this assessment

Part 6 Review of Risk Assessment Completion date of assessment Review date of assessment