# Radiation Management System Sealed Sources (Category 5 or exempt sources)

# SHEP 29 -  B

# Contents 								                  Page

# 1  Introduction

1.1   Compliance Statement						 3

# 1.2   Key Operating Procedures						 3

1.3   Legislation						                       4

# 2  Requirements								    	 4

# 2.1  Radiological Protection Advisor / Radiological Waste

# Advisor (RPA / RWA)			                                 	 4

# 2.2  Radiological Protection Supervisors (RPS)			 5

# 2.3  Radiation Workers							 6

# 2.4  Training									 7

# 3  Control Measures								 7

# 3.1  Local Rules								 7

# 3.2  Acquisition of Sources						 7

# 3.3  Disposal of Sources							 8

# 3.4  Audit									 9

# 3.5 Emergency Procedures

# 4  Day to day Management of Radioactive sources				10

# 4.1  Table of procedures							10

# 5  Organisational Structure							11

# 6 Safety Committee Structure							12

# 7  Management Structure 							13

# 8  Best Available Technique (BAT)						14

Appendix 1      Procedure Compliance Summary                                         15

Appendix 2       St Georges University RPS’s 2019                                      17

# Radiation Safety Policy

1  Introduction

St George’s University of London shall ensure, as far as reasonably practicable, the health, safety and welfare of its employees, of contractors working on the premises and of the public who may be exposed to the hazards arising form the use of ionising radiations.

St George’s University of London is committed to the principle of ensuring that exposures to ionising radiation are as low as reasonably practicable and complying with the conditions of our registration to hold a Sealed Radioactive Source. (BK1155/CB6178) & Certificate of Authorisation for Accumulation and Disposal of Radioactive Waste (BK1139).

1.1   Compliance Statement

St George’s University of London (SGUL) is committed to compliance with all aspects of the Environmental Permitting Regulations 2016, so far as is reasonably practicable. As such (SGUL) fully accepts its responsibility to act to protect others and the environment that may be affected by its activities. To this end environmental protection is an integral part of SGUL radiation management system and every possible effort is being made to provide suitable procedures to underpin this situation. A list of the relevant procedures is contained within this document. The full procedures are contained within various files kept in the SHE Office.

The management requirements also include sufficient resources being made available to achieve compliance.

SGUL has appointed competent persons to assist in meeting their statutory duties in respect of compliance with EPR2016, namely a Radiation Protection Advisor and A Radiation Waste Advisor to act as the qualified expert for the purpose of advising on compliance with all EPR2016 conditions and limitations. Suitably qualified Radiation Protection Supervisors (RPS’s) are appointed to supervise the disposal of the unwanted radioactive source in compliance with the requirements of the Certificate of Authorisation.

Overall SGUL is confident that it has a management system, financial resources, competent persons, operating procedures and adequate supervision to fully meet it obligations to comply with the EPR2016 and in particular the conditions and limitations within Certificates of Authorisation and Registration.

1.2  Key Operating Procedures

The full list of procedures for day to day management of radioactive sources is given in section 4.1.

# 1.3  Legislation

# This document outlines how we comply with the requirements of

# The Radioactive Substances Act 1993

# The Ionising Radiation Regulations 2017

# The hazardous waste regulations 2005

# Environmental Permitting Regulations 2016

# 2  Requirements

2.1  Radiation Protection Advisor (RPA) / Radiation Waste Advisor (RWA)

St George’s University of London have appointed a suitable Radiation Protection Advisor / Radiation Waste Advisor (RPA / RWA) to cover work with unsealed and sealed radioactive sources they are based

The Radiological Protection Centre,

Unit 5, The Observatory,

24 Deer Park Road,

SW19 3UA.

Tel: 0208 725 5875 / 0208 725 3430

Under IRR2017, the appointment will be required to hold a certificate of competence from a body approved for this purpose by the Health and Safety Executive.

The statutory role of the RPA / RWA is that of an expert to be consulted by St George’s University of London.  He or his deputy is empowered to provide advice to senior management of St George’s University of London, Chair of safety committees, Heads of Departments and Radiation Protection Supervisors.

# The RPA / RWA performs an annual audit provides annual training for RPS’s, and attends Radiological Protection Committee meetings. The RPA / RWA is also informed of any incidents involving radioactive substances.

## 2.2  Radiation Protection Supervisors (RPS’s)

The Heads of Institutes delegate day-to-day responsibility for various aspects of work with ionising radiation to nominated RPS’s. They carry the general responsibility for ensuring that the regulations are complied with.  In order to assist in this aim, the employer appoints RPS’s to supervise radiation protection at a local level.

RPS’s must be appointed in writing by the employer in accordance with Regulation 18(5) of the (IRR17) lonising Radiations Regulations 2017.

The RPS is expected to be trained and to keep up-to-date on relevant radiation protection matters. St George’s University of London RPA provides suitable training courses to help in this respect.

These duties apply to the department and/or area in which the RPS is responsible and are summarised as follows:

- To monitor the radiation safety aspects of the work in accordance with the

Regulations in the department and/or area in which the RPS is responsible.

- To establish and maintain systems of work to ensure that exposures to staff and the public are kept as low as reasonably practicable.

- To authorise staff to use radioactive substances in laboratory work.

- To ensure that Local Rules, including written systems of work, are issued and explained to staff and to ensure as far as possible that they are observed.

- To ensure that staff and visitors are monitored in accordance with the Local Rules and to investigate and record the cause if any dose recorded exceeds the relevant local action level.

- To undertake basic radiation checks on laboratories and protective shielding to ensure that essential radiation protection facilities are in place and operational.

- To undertake contamination monitoring periodically to ensure that levels are as low as reasonably practicable.

- To ensure that the procurement, use and ultimate disposal of unsealed sources is undertaken in a safe manner

- To use Best Available Technique (BAT) for minimisation of radioactive waste.

## 2.3  Radiation workers

Individual users of radiation have important roles and responsibilities in respect of work with ionising radiation.  They are expected to carry out regular environmental monitoring in laboratories and maintaining local records.  These are described in the Local Rules.

## Before starting radioactive work

Authorising of individuals to work with ionising radiation in the University is the responsibility of the SHE Office who does this by means of registration.  Users are registered on the Radiation Registration form and a Risk Assessment procedure is completed. The system incorporates the following elements.

- The prospective worker must first complete the application form which includes a brief description of work.  The SHE Office will discuss the procedure and requirements of the prospective work such as application of Best Available Technique, on choice of radionuclides, optimisation on usage and minimise waste disposal.

- The individual must be given relevant training and supervision. All new users must be trained in basic radiation safety before undertaking any work with radioactive substances.

- Female workers are informed about the possible risk associated with work with ionising radiation during pregnancy and the potential risk to the nursing infant when working with unsealed radioactive sources.

- The applicant signs the required declaration that they have read St George’s University of London Safety Code of Practice and Local Rules and they agree to work safely and comply with all necessary statutory requirements.

- Both the Departmental RPS and project supervisor sign the form to show that they are satisfied with the provision of training and supervision given to the applicant.

A copy of the application form and experiment protocol are kept in SHE Office.

Restriction of Exposure

St George’s University of London will take all necessary steps to ensure that exposure of workers and members of the public to ionising radiations is restricted so far as reasonably practicable.  Radiation protection is based on the three principles:

- No practice shall be adopted unless its introduction produces a net

benefit.

- All exposure shall be kept as low as reasonably achievable (ALARA), economic and social factors being taken into account.

- The dose equivalent to individuals shall not exceed dose limits.

# A list of current RPS’s is in Appendix 1.

# 2.4  Training

Regulation, IRR2017 (15), states all employees who are involved in working with ionising radiation, including management, will require training. St George’s University of London runs a basic radiation safety course for sealed sources for all workers and a RPS refresher course for Supervisors annually. Induction training is given to all new users. All records of safety training are kept in the SHE Office.

# 3   Control Measures

## 3.1  Local Rules

The Ionising Radiation Regulations 2017 (18.1), requires written local rules for all work with ionising radiation.  Local rules should include details of working instructions intended to restrict any exposure in working areas and it should contain the following information:

- A statement of the organisational arrangements for ionising radiation safety including the names and duties of the RPS’s and other appointed persons i.e. Appointed Occupational Health Physicians, and RPA / RWA

- Identification or summary of general precautions and contingency arrangements indicating the reasonably foreseeable accidents relevant to the types of work carried out in the laboratory.

- A description of working instructions and arrangements for particular applications and facilities.

- The identification and description of the area covered, with details of its designation.

- All sources must locked away when not in use and after the completion of experiments. If the room needs to be left unoccupied with the source in use, it should be locked.

3.2	Acquisition of Sources

Individuals wishing to obtain sealed sources must contact the SHE Office (x0637). They must complete a purchase order form in line with the information in SHEP 30.

A provision should be made for the disposal of the source from the relevant budget when considering the purchase of the source.

3.3	Disposal of Sources

Individuals wishing to dispose of sources must follow the waste disposal procedure (SHEP31) and contact the SHE Office (x0637) prior to disposal of the source. They must complete a disposal form in line with the information in SHEP 35.

# 3.4	Audit

# Periodic audits are performed by the RPA / RWA, and the SHE Office in line with the requirements of the above legislation.

3.5	Emergency procedure for loss of radioactive materials

In the event of the loss or theft of material contact the university contact the SHE office on 5166 (or out of hours via security 0909). In the unlikely event that you cannot contact the above individuals, call the Environment Agency (EA) directly on 0800 080706 hotline and clearly state ‘radioactive’ to ensure getting through to the right department for assistance.

Please follow this communication up in writing to the SHE office.

Further information on dealing with emergencies involving radioactive material is available in SHEP- 40

4  Day to Day Management of Sealed Sources

# The on-site management of sealed sources will be covered by the following procedures outlined in the table below

# 4.1  Table of Procedures

| # Procedures | # Responsible Parties | # Procedure No. & Author |
| --- | --- | --- |
| # Risk assessment Procedure # (Use of Radiation) | # Safety, Health & Environmental Department | # SHEP 37 # Julius Akiyu |
| # Statutory Inspection and Audit of records and procedure | # RPA | # As per licence |
| # Disposal of sealed sources (radioactive waste) | # Procedure for disposal of radioactive waste SHEP 37 | # SHEP 35 |
| # Emergency procedure for radiochemicals | # Safety, Health & Environmental Department | # SHEP 40 # Colin Sandiford |

# 5  Organisational Structure

8			 Best Available Technique(BAT)

Schedule 1 conditions of all Non-Nuclear Authorisations, as of August 2004, requires all operators to apply Best Available Technique(BAT) when carrying out certain functions under the Radioactive Substances Act 1993 incorporated into the Environmental Permitting Regulations 2016.

St George’s University of London (SGUL) will endeavour to apply BAT to optimise control over radioactive substances by minimising the size of the sealed source obtained and thus reduce the impact on man and the environment from its operations.

There are no limits below which BAT need not be applied, however SGUL will make decisions as to when it makes no reasonable sense to achieve further reductions. Consideration will be taken of factors such as cost-effectiveness, technological status and operational safety. A proportionate approach will be applied.

SGUL recognises that the BAT condition in authorisations requires operators to apply BAT on a continuous basis in addition to demonstrating compliance with other authorisation conditions and limitations. SGUL will ensure that where applicable it will undertake reasonably practicable measure to achieve compliance with the relevant conditions.

SGUL undertakes a BAT assessment / study of existing practices (including operations and procedures) to evaluate the control measures already in place for managing the sealed source during the annual RPA audits which are carried out by Dr Ishmail Badr of the Radiological Protection Centre. The audit will help decide whether these are using BAT, and if not, identify what additional, or which alternative options should be considered and set down a time scale for improvements. The plan for this will be agreed at the quarterly Radiation Protection Committee meetings.

ADDITIONAL OPERATING PROCEDURES:

Procedure for decommissioning and clearance

Contact the Radiation Protection Advisor (RPC, Unit 5, The Observatory, 24 Deer Park Road, London SW19 3UA, tel;: 020 8725 1050 or 020 8725 3430), who will advise on decommissioning and clearance.

Procedure for contacting the Environment Agency

Question “In the case of a radiation incident How would you notify the EA in the event of an incident? Who would notify the EA?”

For a serious incident such as theft of a source phone the EA hotline on 0800 807060 clearly stating the word ‘radioactive’ to get through to the right department without delay. This should be written down somewhere as a procedure. A full written account would then be sent without delay. When it comes to notifying the EA, this should be done by someone employed by the permit holder and there should ideally be a nominated person or persons who will do this.

Appendix  1

Procedure Compliance Summary

The following table is a summary of the contribution that can be attributed to individual User’s Procedures with regard to compliance with Registration and Authorisation Schedule 1 conditions.

| Permit type |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RSA93 Registration (open sources BK1147) |  | RSA93 Registration (sealed sources BK1155/CB6178) |  | RSA93 Authorisation (BK1139) |  |
| Condition | SGUL procedure that ensures compliance | Condition | SGUL procedure that ensures compliance | Condition | SGUL procedure that ensures compliance |
| 1 | BAT statement | 1.1 | SHEP29 (Radiation Management Document) | 1 | SHEP29 (Radiation Management Document) |
| 2 | SHEP30 (ordering, receipt, handling and checking of radioactive orders against EA registration) | 1.2 | SHEP36 (checking appointment of users of radiochemicals) | 2 | Local rules, SHEP36 (checking appointment of users of radiochemicals) |
| 3 | SHEP36 (checking appointment of users of radiochemicals) | 1.3 |  | 3 | Local rules, SHEP30 (Procedure for disposal of radioactive waste) |
| 4 | Local rules | 1.5, 1.6 and 2.2 | SHEP32 (maintenance of radioactive sources database) | 6 | Local rules, SHEP40 (emergency procedure for radiochemicals) |
| 5 | BAT statement, SHEP37 (risk assessment procedure) | 2.1 | SHEP32 (maintenance of radioactive sources database) | 7 | Local rules, SHEP40 (emergency procedure for radiochemicals) |
| 6 | Local rules, SHEP40 (emergency procedure for radiochemicals) | 2.3 |  | 9 | SHEP42 (Procedure for applications for new or varied RSA93 certificates) |
| 10 | Local rules, SHEP40 (emergency procedure for radiochemicals) | 3 | SHEP32 (maintenance of radioactive sources database) | 10 | SHEP35 (Procedure for disposal of radioactive waste), (maintenance of radioactive decay records) |
| 11 | SHEP42 (Procedure for applications for new or varied RSA93 certificates) | 4.1 | SHEP32 (maintenance of radioactive sources database) | 11 | NA |
| 12 | SHEP32 (maintenance of radioactive sources database), SHEP30 (ordering, receipt, handling and checking of radioactive orders against EA registration) | 4.2 | SHEP42 (Procedure for applications for new or varied RSA93 certificates) | 12 |  |
| 13 | NA | 4.3 | SHEP29 (Radiation Management Document) | 13 | NA |

Appendix 2

St Georges University RPS’s 2019

St Georges University of London Radiation Protection Supervisors (RPS) 2019

RPS					Institute / Unit

1.	Alexis Bailey				Institute Medical and Biomedical

Education

2.	Ash Sameja				Core Facilities

3.	Isabelle Crevel			Core Facilities

4.	Mike Lacey				Institute Medical and Biomedical

Education

5.	Judith Harper			St George’s University Hospitals 									NHS Foundation Trust

Radiation Protection Officer

Acknowledgement of Local Rules within St. George’s University of London

Worker Acknowledgement

I certify that I have read and understood the rules that apply to the use of Radionuclides (sealed sources) in St. George’s University of London. I certify that I will comply with the local rules at all times.

| Name of Worker |  |
| --- | --- |
| Laboratory in which work will be undertaken |  |
| Date |  |

Principal Investigator Acknowledgement

I certify that the local rules as they apply to the work that the above worker will undertake have been explained to them and I will ensure that the worker complies with them at all time.

| Name of Principal Investigator |  |
| --- | --- |
| Laboratory in which work will be undertaken |  |
| Date |  |

Radiation Protection Supervisor Acknowledgement

I certify that I have explained the local rules as they apply to the work that the above worker will undertake and I will ensure that the worker complies with them at all time.

| Name of Radiation Protection Supervisor |  |
| --- | --- |
| Laboratory in which work will be undertaken |  |
| Date |  |